Town of Outlook

Bylaw 14(2002) to Regulate Open Fires within Town Limits

Passed June 25, 2002

The following definitions shall apply;

a)        “Chief” shall mean the Chief of the Fire Department of the Town of Outlook or

such other person who may be appointed by Council to carry out the provisions of                          this bylaw

b)        “Council” shall mean the Council of the Town of Outlook

c)        “Open Air Fire” shall mean any fire intentionally lit on private property for the

enjoyment of the property residents

d)        “Outdoor Fire Appliance” shall mean a device designed specifically for the

purpose of burning charcoal or seasoned wood

e)        “Town” shall mean the Town of Outlook.

1.	The site of the burning of open air fires and the burning Outdoor Fire Appliance must be

inspected and a permit (Schedule “A”) obtained from the Town of Outlook prior to an                   	open air fire being ignited.

2.    	Open air fires shall not be set unless the following measures are taken to limit their spread:

a)       	Fires must be contained in a non-combustible Outdoor Fire Appliance constructed  of cement, brick or sheet metal with an 18 gauge thickness;

b)       	The Outdoor Fire Appliance must have a bottom and four sides or be 360 degrees

round;

c)       	The Outdoor Fire Appliance’s maximum inside measurements shall be 60 centimeters by 60 centimeters or be 60 centimeters in diameter;

d)        The Outdoor Fire Appliance’s maximum height/depth shall be 65 centimeters;

e)        The top of the Outdoor Fire Appliance must be completely covered by a 3 mm

wire  mesh;

f)        	A fireguard of non-combustible material 60 centimeters wide must surround the Outdoor Fire Appliance;

g)        The Outdoor Fire Appliance must be a minimum of 4 meters from any building

and 6 meters from any property line, unless written permission to do otherwise is    provided ed by the Fire Chief;

- Open air fires shall not be permitted in any front yard, as defined in the Zoning Bylaw,

No. 7(86) as amended from time to time.

- The fuel for open fires may consist only of charcoal or cut, seasoned wood.   The burning of all other materials is prohibited.

6.	A person to whom a permit has been issued under subsection (1) shall insure a

competent person is in constant attendance to prevent the fire from getting beyond              control, or causing damage, or becoming dangerous.

- Open air fires must not be set in windy conditions conducive to creating a running fire or    a nuisance to another person.

8.	Any open air fire which causes an unreasonable interference with the use and enjoyment     of another person’s property shall be extinguished immediately.

The Fire Chief for the Town of Outlook may, when conditions warrant, post a ban on all    open fires, including cooking fires, with the exception of those cooking fires made of charcoal and enclosed in a sturdy metal container designed specifically for such a purpose, or those cooking fires made with an approved propane or natural gas appliance

Open air fires shall not be allowed prior to 11:00 A.M.  All open air fires shall be

extinguished not later than 1:00 A.M.

The Fire Chief, shall at all times, have access and authority to inspect an Outdoor Fire

Appliance and determine the compliance with the bylaw in the matter of care and control

of an open air fire.

Nothing contained in this bylaw shall relieve any person from complying with all relevant laws, regulations or bylaws, and in particular, with the provisions of  The Clean Air Act

1989, as amended and revised from time to time, and The Fire Prevention Act, 1992 as       	amended and revised from time to time, and the regulations passed pursuant thereto.

Any person found guilty of an infraction of any of the provisions of this bylaw shall be       liable to the penalties provided in the General Penalty Bylaw of the Town of Outlook.